## Slide 1: Неуправляемые коммутаторы Modicon Switch
  Presented by:
  09.2021

## Slide 2
Modicon Unmanaged Switch
1
Краткий обзор сетевых компонент Ethernet
2
Описание предложения
3
4
5
Notes: Agenda slide

## Slide 3: Краткий обзор сетевых компонент Ethernet

## Slide 4
Всестороннее портфолио архитектур EcoStruxure
Notes: Talking points:
We are addressing these trends and the needs of our industrial customers with our EcoStruxure architecture
EcoStruxure covers the full breadth of our focus areas of energy management and automation
Schneider Electric addresses the complete value chain from the grid to buildings (small and medium as well as large and critical), to the data center, and to the machine and the plant

## Slide 5
Page 5
Подключаемые
устройства
Управление в
реальном
времени
Приложения,
аналитика и
сервисы
Архитектура EcoStruxure
EcoStruxure Asset Advisor
EcoStruxure Resource Advisor
EcoStruxure
Power Monitoring Expert
Разработка
Планирование и эксплуатация
Производительность активов
Управление и информирование
Altivar
TeSys
Умный щит & Система управления электродвигателями
Foxboro
полевые устройства
Magelis
Датчики & RFID
EcoStruxure
Profit Advisor
EcoStruxure Control Advisor
EcoStruxure
Process Expert
ПО EcoStruxure Industrial
Modicon
EcoStruxure
Control Expert
SCADA- система
EcoStruxure
Foxboro DCS
EcoStruxure
Triconex
Сквозная кибербезопасность
Облачные и / или локальные хранилища
Plant
Собери
Подключи
Анализируй
Действуй
Машиностроение
Пищевая промышленность
Водоснабжение
Металлургия и добыча полезных ископаемых
Нефть и газ
Notes: На третьем уровне сервисы и аналитика
На втором уровне осуществляется сбор и обработка данных для управления технологическим процессом в режиме реального времени.
На первом уровне ИМ и датчики
IDPAC. Это группа продукции предназначена для АСУТП. Включает в себя ПЛК, сетевые компоненты и специализированное ПО.

## Slide 6
Общие сведения: применение Modicon Switch автоматизированного производства
Подключенные
продукты
Периферийное
управление
Полевые устройства
ЧМИ Harmony
Приложения,
аналитика
и сервисы
Датчики
iPMCC
ATV Process
Устройства ввода/вывода STB
EcoStruxure
Asset Advisor
EcoStruxure
Resource Advisor
Инженерное
планирование и эксплуатация
Контроль производительности
активов и сведения об эффективности
EcoStruxure
Profit Advisor
EcoStruxure
Control Advisor
ПО AVEVA*
EcoStruxure
Hybrid DCS
Контроллеры ePAC и PAC семейства Modicon
EcoStruxure Control Expert
Периферийные ЦОДы и промышленные компьютеры
семейства Harmony
Коммутатор Modicon
Кольцо Ethernet
Коммутатор Modicon
  Неуправляемые коммутаторы, насчитывающие до 10 портов, включая оптоволоконный разъем, для простого подключения нескольких Ethernet-устройств.
  Управляемые коммутаторы с возможностями оптимизации пропускной способности, резервирования и контроля доступа. Доступно множество моделей с разным количеством портов и под разные типы кабелей. Все модели разделены на четыре группы в зависимости от цены и технических возможностей.
  Брандмауэры Ethernet для контроля сетевого доступа, позволяющие разрешить или запретить обмен данными между устройствами в сети на основе набора правил.
  Широкий выбор кабелей и приспособлений, необходимых для подключения к промышленным Ethernet-сетям.
  Программное обеспечение для управления системой для контроля состояния Ethernet-сети с несколькими лицензиями.
Комплексное предложение сетевых изделий
Конфиденциально. Собственность Schneider Electric
Notes: The new Modicon switches can be used in our Ecostruxure systems to connect the layers together, as shown in the figure, where switches are in the Control network ring to connect the Apps & analytics with the Edge control products. It can also be used as well to connect drives, STB, or third party Ethernet I/P products.

## Slide 7
Эволюция сетевых коммутаторов Ethernet
Standard Managed
2006
Unmanaged
2007
Extended Managed
2010
Basic Managed
2011
Lite Managed
2015
Managed
Port ≤ 12
2020
Extended Managed
& Managed Port ≥ 12
& Unmanaged
2021
499N* Series
Obsolete
Premium Unmanaged
2016
Firewall
2011/2012

## Slide 8
Обзор коммутаторов Modicon
Базовая прошивка для поддержки RSTP, но с другими ограниченными функциями: 3 варианта с/без волоконно-оптических портов ММ.
Basic Managed Switch
Специализированное применение для архитектуры удаленного ввода-вывода (RIO) Ethernet M580. 6 вариантов с или без волоконно-оптических опций SM/MM и жестких условий эксплуатации.
Управляемый коммутатор начального уровня. 1 вариант с
4 портами TX, стандартная прошивка.
Plug & Play коммутаторы, от 5 до 8 портов с/без волоконно-оптическими портами, а также вариант IP67.
Неуправляемые коммутаторы с расширенными функциями, такими как реле сигнализации, загрузка конфигурации, резервированное питание.
Port Count
4 8 10 16 20 24
Extended Managed Switch
Standard Managed Switch
Lite Managed Switch
Premium Unmanaged Switch
Standard Unmanaged Switch
Стоимость / сложность
Managed
26 вариантов с использованием внутренних операционных систем повышенной надежности и кибербезопасности; варианты с/без волоконно-оптическими портами SM / MM / SFP, гигабитными портами, опциями питания и жестких условий эксплуатации.
Unmanaged
Firewall / Layer 3
Базовый инструмент для реализации различных уровней сегментации периметра сети, доступа к сети и защиты трафика и т.д. Работает как в режиме прозрачного моста, так и в режиме маршрутизатора
Брандмауэр / Коммутатор уровня 3 (Firewall / Layer 3 Switch)

## Slide 9
Новое семейство коммутаторов Modicon Switch
6TX/1FX-MM
6TX/1FX-SM
8TX/1FX-SM
8TX/1FX-MM
8TX/2FX-SM *
8TX/2FX-MM *
8TX *
8TX
8TX/2FX-SM *
8TX/2FX-MM *
PoE 8GE-TX **
4TX/1FX-SM
4TX/1FX-MM
4TX/2FX-SM
4TX/2FX-MM
4
8
12
Standard Managed
Extended Managed (DRS)
5
6
9
10
16
24
20
4TX
8TX/4GE SFP
Standard Unmanaged
8TX/4GE- TX
16TX
16TX/4GE- SFP
20TX/4GE- SFP
Запуск Q4 2021
5TX
4TX/1FX
8TX
Запуск Q2 2022
Запуск 09.2021

## Slide 10: Описание предложения Modicon Unmanaged Switch

## Slide 11
Уникальные преимущества
Эффективность и рентабельность
Снижение затрат: универсальное, менее дорогостоящее оборудование с расширенным набором функций предоставляет пользователю больше возможностей по выгодной цене!
Надежность и производительность
Продуманный дизайн: более быстрые и надежные вычисления благодаря операционным системам на базе Linux, лучше приспособленным к растущей сложности архитектуры Ethernet.
Безопасность и надежность
Повышенная кибербезопасность: безопасность сети имеет первостепенное значение. Данные, передаваемые по сети, необходимо защитить от несанкционированного доступа. Технологии и методы обеспечения кибербезопасности помогают решить эту важную задачу. Самый высокий уровень безопасности в рамках предложения ConneXium на сегодняшний день.
Устойчивость и трансформация
Трансформация бизнеса: по мере развития архитектуры Ethernet сети требуют внедрения большего количества адаптивных технологий. Поддержка технологии PoE и гигабитных сетей.
Конфиденциально. Собственность Schneider Electric
Notes: The pricing will be more or less 5% cheaper than the previous ConneXium offer.
More reliable thanks to the Linux based OS, with new harsh variants
More cybersecure with lots of new features included in the new produtcs
Adapts to customers networks with Gb and PoE ( address more customers ).

## Slide 12
Обновление линейки неуправляемых коммутаторов
Рекомендуемые замены
TCSESU033FN0
3 RJ45 copper
TCSESU053FN0
5 RJ45 copper
TCSESU043F1N0
4 RJ45 copper
1 Multi-Mode fiber*
(bottom view)
TCSESU083FN0
8 RJ45 copper
TCSESU103F2CU0
8 RJ45 copper
2 Multi-Mode fiber*
(bottom view)
TCSESU103F2CS0
8 RJ45 copper
2 Single-Mode fiber*
(bottom view)
TCSESSU083FN0
8 RJ45 copper
MCSESU053F1CU0
4 RJ45 copper
1 Multi-Mode fiber*
(bottom view)
MCSESU053FN0
5 RJ45 copper
MCSESU083FN0
8 RJ45 copper
MCSESU083F2CU0
6 RJ45 copper
2 Multi-Mode fiber
(front view)
MCSESU083F2CS0
6 RJ45 copper
2 Single-Mode fiber (front view)

## Slide 13
ConneXium vs Modicon Unmanaged Switch
Features | ConneXium | Modicon
IP degree of protection | IP30 | IP30
Operating temperature | 0...60 °C (-40...+70 °C for 8TX/2FX) | 0...60 °C
Relative humidity | 0...95 % (non-condensing) | 10...95 % (non-condensing)
Power supply | 3-pin pluggable terminal block | 3-pin pluggable terminal block
Supply voltage | 12...24 V | 12...24 V
Power consumption | 3TX: 2.2 W 5TX: 2.2 W 8TX: 4.1 W 4TX/1FX: 3.9 W 8TX/2FX: 8.4 W | 5TX: 1.3 W 8TX: 1.5 W 4TX/1FX: 2.4 W 6TX/2FX: 3.8 W
Dimension (W * H * D) | 3TX: 25mm*114mm*79mm 5TX: 25mm*114mm*79mm 4TX/1FX: 25mm*114mm*79mm 8TX: 35mm*138mm*121mm 8TX/2FX: 35mm*138mm*121mm | 5TX: 26mm*102mm*79mm 4TX/1FX: 26mm*102mm*79mm 8TX: 38mm*102mm*79mm 6TX/2FX: 45mm*110mm*88mm
Улучшения
Снижение энергопотребления + компактный размер

## Slide 14
Категории Modicon Unmanaged Switch
  Стандарт (Standard Unmanaged Switch)
  5 вариантов стандартного неуправляемого коммутатора начального уровня, от 3 до 8 портов, включая модели с одномодовыми и многомодовыми портами волоконно-оптического кабеля.
  Премиум (Premium Unmanaged Switch)
  5 вариантов, от 5 до 9 портов, включают резервированное питание, контакты сигнализации, одномодовые и многомодовые порты волоконно-оптического кабеля
  IP67
  1 вариант 5-портовой модели IP67 для применений вне шкафа автоматизации в тяжелых условиях эксплуатации
Референс Описание
Standard Unmanaged Switch
MCSESU053FN0 Switch 5TX
MCSESU053F1N0 Switch 4TX/1FX-Multi Mode
MCSESU083FN0 Switch 8TX
MCSESU083F2CU0 Switch 6TX/2FX-Multi Mode
MCSESU083F2CS0 Switch 6TX/2FX-Single Mode
Premium Unmanaged Switch
TCSESPU083FN0 Switch 8TX
TCSESPU053F1CU0 Switch 4TX/ 1FX-Multi Mode
TCSESPU093F2CU0 Switch 7TX/ 2FX-Multi Mode
TCSESPU053F1CS0 Switch 4TX/ 1FX-Single Mode
TCSESPU093F2CS0 Switch 7TX/ 2FX-Single Mode
IP67 Unmanaged Switch
TCSESU051F0 Switch 5TX w/M12 Connection

## Slide 15: Рекомендуемые замены ConneXium -> Modicon Switch

## Slide 16
Рекомендуемые замены
Low Port Count (≤12) Managed Switches
Part Number | Description
MCSESM043F23F0 | Modicon Managed Switch 4TX
MCSESM053F1CS0 | Modicon Managed Switch 4TX/1FX-SM
MCSESM053F1CU0 | Modicon Managed Switch 4TX/1FX-MM
MCSESM063F2CS0 | Modicon Managed Switch 4TX/2FX-SM
MCSESM063F2CU0 | Modicon Managed Switch 4TX/2FX-MM
MCSESM083F23F0 | Modicon Managed Switch 8TX
MCSESM083F23F0H | Modicon Managed Switch 8TX - Harsh
MCSESM093F1CS0 | Modicon Managed Switch 8TX/1FX-SM
MCSESM093F1CU0 | Modicon Managed Switch 8TX/1FX-MM
MCSESM103F2CS0 | Modicon Managed Switch 8TX/2FX-SM
MCSESM103F2CS0H | Modicon Managed Switch 8TX/2FX-SM - Harsh
MCSESM103F2CU0 | Modicon Managed Switch 8TX/2FX-MM
MCSESM103F2CU0H | Modicon Managed Switch 8TX/2FX-MM - Harsh
MCSESM123F2LG0 | Modicon Managed Switch 8TX/4GE SFP
MCSESP083F23G0 | Modicon PoE Managed Switch 8GE TX
MCSESP083F23G0T | Modicon PoE Managed Switch 8GE TX - Ext Temp
MCSEAM0100 | Modicon Managed Switch Memory Back Up Adapter
Part Number | Description
TCSESM043F23F0 | ConneXium Managed Switch 4TX
TCSESM043F1CS0 | ConneXium Managed Switch 3TX/1FX-SM
TCSESM043F1CU0 | ConneXium Managed Switch 3TX/1FX-MM
TCSESM043F2CS0 | ConneXium Managed Switch 2TX/2FX-SM
TCSESM043F2CU0 | ConneXium Managed Switch 2TX/2FX-MM
TCSESM083F23F0 | ConneXium Managed Switch 8TX
TCSESM083F1CS0 | ConneXium Managed Switch 7TX/1FX-SM
TCSESM083F1CU0 | ConneXium Managed Switch 7TX/1FX-MM
TCSESM083F2CS0 | ConneXium Managed Switch 6TX/2FX-SM
TCSESM083F2CU0 | ConneXium Managed Switch 6TX/2FX-MM
TCSESM103F2LG0 | ConneXium Managed Switch 8TX/2GE SFP
TCSEAM0100 | ConneXium Managed Switch Memory Back Up Adapter
June 2020

## Slide 17
Рекомендуемые замены (продолжение)
Unmanaged Switches
Part Number | Description
MCSESU053FN0 | Modicon Unmanaged Switch 5TX
MCSESU083FN0 | Modicon Unmanaged Switch 8TX
MCSESU053F1CU0 | Modicon Unmanaged Switch 4TX/1FX-MM
MCSESU083F2CS0 | Modicon Unmanaged Switch 6TX/2FX-SM
MCSESU083F2CU0 | Modicon Unmanaged Switch 6TX/2FX-MM
Part Number | Description
TCSESU033FN0 | ConneXium Unmanaged Switch 3TX
TCSESU053FN0 | ConneXium Unmanaged Switch 5TX
TCSESU083FN0 | ConneXium Unmanaged Switch 8TX
TCSESSU083FN0 | ConneXium Standard Unmanaged Switch 8TX
TCSESU043F1N0 | ConneXium Unmanaged Switch 4TX/1FX-MM
TCSESU103F2CS0 * | ConneXium Unmanaged Switch 8TX/2FX-SM
TCSESU103F2CU0 * | ConneXium Unmanaged Switch 8TX/2FX-MM
Managed Switch Accessories
Part Number | Description
MCSEAM0100 | Modicon Managed Switch Memory Back Up Adapter
TCSEAAF1LFH00 | ConneXium Fiber Fast Module SFP LH/LC SM
TCSEAAF1LFS00 | ConneXium Fiber Fast Module SFP LX/LC MM SM
TCSEAAF1LFU00 | ConneXium Fiber Fast Module SFP SX/LC MM
MCSEAAF1LFT00 | Modicon Fast Module SFP TX/RJ45
MCSEAAF1LFS00 | Modicon Fiber Gbit Module SFP LX/LC SM
MCSEAAF1LFU00 | Modicon Fiber Gbit Module SFP SX/LC MM
MCSEAAF1LFG00 | Modicon Gbit Module SFP TX/RJ45
Part Number | Description
TCSEAM0100 | ConneXium Managed Switch Memory Back Up Adapter
TCSEAAF1LFH00 | ConneXium Fiber Fast Module SFP-LH/LC SM
TCSEAAF1LFS00 | ConneXium Fiber Fast Module SFP-LX/LC MM SM
TCSEAAF1LFU00 | ConneXium Fiber Fast Module SFP-SX/LC MM
Sep 2021
June 2020
Notes: This is an example of a Text Slide. Reference the different layout options in the Slide Master (under the View tab) for different variations. Remember, our new Brand Guidelines call for clean and simple messages and design. Reference the PowerPoint Guidelines on the Brand Book for tips and useful information on creating effective presentations.

## Slide 18
Рекомендуемые замены (продолжение)
Part Number | Description
MCSESM123F23G0 | Modicon Managed Switch 8TX/4GE TX
MCSESM163F23F0 | Modicon Managed Switch 16TX
MCSESM203F4LG0 | Modicon Managed Switch 16TX/4GE SFP
MCSESM243F4LG0 | Modicon Managed Switch 20TX/4GE SFP
Part Number | Description
TCSESM103F23G0 | ConneXium Managed Switch 8TX/2GE TX
TCSESM163F23F0 | ConneXium Managed Switch 16TX
TCSESM163F2CU0 | ConneXium Managed Switch 14TX/2FX-MM
TCSESM163F2CS0 | ConneXium Managed Switch 14TX/2FX-SM
TCSESM243F2CU0 | ConneXium Managed Switch 22TX/2FX-MM
Extended Managed Switches (DRS)
High Port Count (≥12) Managed Switches
Part Number | Description
MCSESM083F23F1 | Modicon Extended Managed Switch 8TX
MCSESM083F23F1H | Modicon Extended Managed Switch 8TX - Harsh
MCSESM103F2CU1 | Modicon Extended Managed Switch 8TX/2FX-MM
MCSESM103F2CU1H | Modicon Extended Managed Switch 8TX/2FX-MM - Harsh
MCSESM103F2CS1 | Modicon Extended Managed Switch 8TX/2FX-SM
MCSESM103F2CS1H | Modicon Extended Managed Switch 8TX/2FX-SM - Harsh
Part Number | Description
TCSESM083F23F1 | ConneXium Extended Managed Switch 8TX
TCSESM083F23F1C | ConneXium Extended Managed Switch 8TX - Coated
TCSESM063F2CU1 | ConneXium Extended Managed Switch 6TX/2FX-MM
TCSESM063F2CU1C | ConneXium Extended Managed Switch 6TX/2FX-MM - Coated
TCSESM063F2CS1 | ConneXium Extended Managed Switch 6TX/2FX-SM
TCSESM063F2CS1C | ConneXium Extended Managed Switch 6TX/2FX-SM - Coated
Q1 2022
Sep 2021
Notes: This is an example of a Text Slide. Reference the different layout options in the Slide Master (under the View tab) for different variations. Remember, our new Brand Guidelines call for clean and simple messages and design. Reference the PowerPoint Guidelines on the Brand Book for tips and useful information on creating effective presentations.

## Slide 19
Рекомендуемые замены (продолжение)
Part Number | Description
TCSESL043F23F0 | ConneXium Lite Managed Switch 4TX
Lite Managed Switch
No change
IP67 Unmanaged Switch
Part Number | Description
TCSESU051F0 | ConneXium Unmanaged Switch IP67 5TX
Part Number | Description
TCSESB083F23F0 | ConneXium Basic Managed Switch 8TX
TCSESB083F2CU0 | ConneXium Basic Managed Switch 6TX/2FM-MM
TCSESB093F3CU0 | ConneXium Basic Managed Switch 6TX/3FM-MM
Basic Managed Switches
No change
No change
Part Number | Description
TCSESPU053F1CS0 | ConneXium Premium Unmanaged Switch 7TX/2FX-SM
TCSESPU053F1CU0 | ConneXium Premium Unmanaged Switch 5TX/1FX-MM
TCSESPU083FN0 | ConneXium Premium Unmanaged Switch 8TX
TCSESPU093F2CS0 | ConneXium Premium Unmanaged Switch 7TX/2FX-SM
TCSESPU093F2CU0 | ConneXium Premium Unmanaged Switch 7TX/2FX-MM
Premium unmanaged Switches
No change

## Slide 20
Notes: Closing slide