## Eatec srl
ООО «Диона - инженерные системы»
117465, Россия, г. Москва,
ул. Генерала Тюленева, д. 4А, стр. 1
Тел./факс: +7 495 532 27 32
Web: http://www.dionabms.ru
E-mail: info@dionabms.ru
| Розничный прайс-лист на продукцию Eatec srl (Италия) | 04.05.2022 г.
Артикул | Наименование и техническая характеристика | Цена с НДС, евро цент
Датчики
Термостаты
TD1 | Automatic frost protection thermostat 1,8 m | 134.98
TDR1 | Manual frost protection thermostat 1,8 m | 143.97
TD2 | Automatic frost protection thermostat 3 m | 139.48
TDR2 | Manual frost protection thermostat 3 m | 152.97
TD3 | Automatic frost protection thermostat 6 m | 152.97
TDR3 | Manual frost protection thermostat 6 m | 173.22
ATD1 | Set of 6 pieces mounting brackets | 11.25
TAM31 | Room thermostat | 58.49
TAM33 | Room thermostat with on/off switch | 71.99
TAM34 | Room thermostat with summer/winter switch | 85.48
TA1 | Industrial room thermostat, range -15...+40°C | 103.48
TA2 | Industrial room thermostat, range 0...+60°C | 103.48
TA2S | Industrial room thermostat, range 0...+60°C, internal knob | 103.48
TA3 | Industrial room thermostat, range 0...+40°C | 103.48
TA3S | Industrial room thermostat, range 0...+40°C, internal knob | 103.48
TC1 | Industrial strap-on thermostat, range +5...+60°C | 89.98
TC1S | Industrial strap-on thermostat, range +5...+60°C, internal knob | 89.98
TC2 | Industrial strap-on thermostat, range +10...+90°C | 89.98
TC2S | Industrial strap-on thermostat, range +10...+90°C, internal knob | 89.98
TCL65 | Industrial strap-on thermostat, manual reset, fixed setting at 65° | 98.98
TCL1 | Industrial strap-on thermostat, manual reset, range +30...+70°C | 98.98
TI1 | Industrial immersion thermostat, range 0...+60°C | 101.23
TI1S | Industrial immersion thermostat, range 0...+60°C, internal knob | 101.23
TI2 | Industrial immersion thermostat, range 0...+90°C | 101.23
TI2S | Industrial immersion thermostat, range 0...+90°C, internal knob | 101.23
TI3 | Industrial immersion thermostat, range +30...+70°C | 101.23
TIL100 | Industrial immersion thermostat, manual reset, fixed setting at 100° | 110.23
TIL1 | Industrial immersion thermostat, manual reset, range +90...+110°C | 110.23
TIB | Industrial immersion thermostat, range +90... +200°C | 137.23
TK1 | Industrial capillary thermostat, range 0...+60°C | 94.48
TK1S | Industrial capillary thermostat, range 0...+60°C, internal knob | 94.48
TK2 | Industrial capillary thermostat, range 0...+90°C | 94.48
TK2S | Industrial capillary thermostat, range 0...+90°C, internal knob | 94.48
TK3 | Industrial capillary thermostat, range -35...+35°C | 94.48
TKL100 | Industrial capillary thermostat, manual reset, fixed setting at 100° | 103.48
TKL1 | Industrial capillary thermostat, manual reset, range +90...+110°C | 103.48
TKS | Industrial capillary thermostat, water-proof, range +40... +120°C | 112.48
RTA02 | Fan coil 2- and 4-pipe thermostat with display | 193.47
RTA03 | Fan coil 2-pipe P+I thermostat | 128.23
RTA04 | Fan coil 2-pipe P+I controller | 150.72
RTA05 | Digital fan coil 2- and 4-pipe P+I controller | 182.22
RTA19 | Fan coil controller with proportional fan output | 242.96
RTA29 | Fan coil controller with proportional fan output with Modbus | 303.7
RTA50xx | Fan coil controller with proportional fan output with Modbus and display | 476.92
RTA51A | Fan coil controller with proportional fan output, DIN rail, 24 V AC | 314.94
RTA51B | Fan coil controller with proportional fan output, DIN rail, 230 V AC | 314.94
RTA51xx | Remote Display for 3-module flush-mounting box | 220.46
RTA50..M | Fan coil controller with Modbus master version | 800.86
Реле протока
FS1 | Liquid flow switch in brass | 128.23
FS2 | Liquid flow switch in stainless steel | 418.43
AFS | Set of 4 stainless steel paddles with screw and rod | 13.5
FL10 | Liquid flow switch G 3/8 | 202.46
FL15 | Liquid flow switch G 1/2 | 206.96
FL20 | Liquid flow switch G 3/4 | 213.71
FL25 | Liquid flow switch G 1 | 227.21
FL32 | Liquid flow switch G 1 1/4 | 251.96
FL40 | Liquid flow switch G 1 1/2 | 278.95
FL50 | Liquid flow switch G 2 | 303.7
FL200A | Liquid flow switch G 1 1/4 - 8; 0,1 A, 125 V AC, min. 1 mA at 5 V DC | 184.47
FL200B | Liquid flow switch G 1 1/4 - 8; 3 A, 250 V AC, min. 160 mA at 5 V DC | 179.97
FLUS001 | Liquid flow switch with reed contact, DN20 - DN200 | 186.72
FLUS006AW | Liquid flow switch with reed contact, l/min. 6,7 | 191.22
FLUS007AW | Liquid flow switch with reed contact, l/min. 15,8 | 186.72
FLUS009AW | Liquid flow switch with reed contact, l/min. 46 | 143.97
FLUS010AW | Liquid flow switch with reed contact, l/min. 26,7 | 211.46
FLUS011AW | Liquid flow switch with reed contact, l/min. 32 | 193.47
FSA1 | Air flow switch | 146.22
FSE1 | Airflow and velocity transducers with display | 1147.3
FSE2 | Airflow and velocity transducers | 1064.06
FG1 | Level controller, max. pressione 4 bar | 197.96
Реле давления
PA1 | Air differential pressure switch 20...300 Pa | 62.99
PA2 | Air differential pressure switch 30...400 Pa | 62.99
PA3 | Air differential pressure switch 50…500 Pa | 62.99
PA4 | Air differential pressure switch 200...1000 Pa | 62.99
PA5 | Air differential pressure switch 500...2500 Pa | 62.99
PA6 | Air differential pressure switch 1000...5000 Pa | 62.99
PA7 | Air differential pressure switch 100...1000 Pa | 62.99
PA…B | Air differential pressure switch with ranges in mbar | 62.99
PA…M | Air differential pressure switch in multiply packing | 58.49
PA…G | Air differential pressure switch in single packing IP65 (min. 25 pcs) | 105.73
PA…GM | Air differential pressure switch in multiply packing IP65 (min. 45 pcs) | 94.48
PA..X | Air differential pressure switch with ranges in Pascal, ATEX version | 382.43
PA..UL | Air diff. pressure switch with ranges in Pascal, UL, CSA version | 186.72
APA1 | Snap-on plastin bracket, L-shaped | 11.25
APA2 | Snap-on plastin bracket, S-shaped | 11.25
APA3 | PVC-hose 2 m Ø 6 with 2 ABS nippels and 4 screws | 15.75
MM6 | Differential manometer 0...200...600 Pa | 164.22
MM15 | Differential manometer 0...500...1500 Pa | 355.44
Датчики влажности воздуха
HR1 | Room humidistat | 184.47
HD1 | Duct humidistat | 562.4
Преобразователи
PTD | Relative pressure transmitter | 425.17
PTM1 | Air differential pressure transmitter -50...0...+50 Pa | 506.16
PTM1D | Air differential pressure transmitter -50...0...+50 Pa with display | 614.14
PTM2 | Air differential pressure transmitter 0...100 Pa, 0...250 Pa | 506.16
PTM2D | Air differential pressure transmitter 0...100 Pa, 0...250 Pa with display | 614.14
PTM3 | Air differential pressure transmitter 0...500 Pa, 0...1000 Pa | 506.16
PTM3D | Air differential pressure transmitter 0...500 Pa, 0...1000 Pa with display | 614.14
PTM4 | Air differential pressure transmitter 0...1 kPa, 0...2,5 kPa | 506.16
PTM4D | Air differential pressure transmitter 0...1 kPa, 0...2,5 kPa with display | 614.14
PTM5 | Air differential pressure transmitter 0...5 kPa, 0...10 kPa | 506.16
PTM5D | Air differential pressure transmitter 0...5 kPa, 0...10 kPa with display | 614.14
PTM6 | Air differential pressure transmitter 0...25 kPa, 0...50 kPa | 506.16
PTM6D | Air differential pressure transmitter 0...25 kPa, 0...50 kPa with display | 614.14
PTQ1 | Air differential pressure transmitter selectable | 602.89
PTQ1D | Air differential pressure transmitter selectable with display | 722.12
PTG.. | Air differential pressure transmitter IP65 | 650.13
PTG..D | Air differential pressure transmitter IP65 with display | 742.37
PTGA | Air differential pressure transmitter IP65, autom. 0, ModBus | 809.86
PTGM | Air differential pressure transmitter IP65, manual 0, ModBus | 731.12
VTGA | Air velocity transmitter IP65, autom. 0, ModBus | 854.85
VTGM | Air velocity transmitter IP65, manual 0, ModBus | 787.36
PTR.. | Air differential pressure transmitter OEM version | 366.68
PTV | Volume flow transmitter | 825.6
LUX24 | Light sensor | 317.19
SAVV | Room air quality sensor, 0...10 V DC | 654.63
SAVVD | Room air quality sensor, 0...10 V DC, with display | 818.85
SAVTV | Room air quality and temperature sensor, 0...10 V DC | 692.88
SAVTVD | Room air quality and temperature sensor, 0...10 V DC, with display | 861.6
SAVTHV | Room air quality, temperature and humidity sensor, 0...10 V DC | 733.37
SAVTHVD | Room air quality, temperature and humidity sensor, 0...10 V DC, with display | 904.34
SAVC | Room air quality sensor, 4...20 mA | 692.88
SAVCD | Room air quality sensor, 4...20 mA, with display | 861.6
SAVTC | Room air quality and temperature sensor, 4...20 mA | 733.37
SAVTCD | Room air quality and temperature sensor, 4...20 mA, with display | 904.34
SAVHC | Room air quality and humidity sensor, 4...20 mA | 733.37
SAVHCD | Room air quality and humidity sensor, 4...20 mA, with display | 904.34
SACV | CO2 room sensor, 0...10 V DC | 753.62
SACVD | CO2 room sensor, 0...10 V DC, with display | 924.59
SACTV | CO2 and temperature room sensor, 0...10 V DC | 839.1
SACTVD | CO2 and temperature room sensor, 0...10 V DC, with display | 1012.32
SACTHV | CO2, temperature and humidity room sensor, 0...10 V DC | 884.09
SACTHVD | CO2, temperature and humidity room sensor, 0...10 V DC, with display | 1055.06
SACC | CO2 room sensor, 4...20 mA | 798.61
SACCD | CO2 room sensor, 4...20 mA, with display | 969.58
SACTC | CO2 and temperature room sensor, 4...20 mA | 884.09
SACTCD | CO2 and temperature room sensor, 4...20 mA, with display | 1055.06
SACHC | CO2 and humidity room sensor, 4...20 mA | 884.09
SACHCD | CO2 and humidity room sensor, 4...20 mA, with display | 1055.06
SDVV | Duct air quality sensor, 0...10 V DC | 776.11
SDVVD | Duct air quality sensor, 0...10 V DC, with display | 949.33
SDVTV | Duct air quality and temperature sensor, 0...10 V DC | 818.85
SDVTVD | Duct air quality and temperature sensor, 0...10 V DC, with display | 989.82
SDVTHV | Duct air quality, temperature and humidity sensor, 0...10 V DC | 861.6
SDVTHVD | Duct air quality, temperature and humidity sensor, 0...10 V DC, with display | 1034.82
SDVC | Duct air quality sensor, 4...20 mA | 818.85
SDVCD | Duct air quality sensor, 4...20 mA, with display | 989.82
SDVTC | Duct air quality and temperature sensor, 4...20 mA | 861.6
SDVTCD | Duct air quality and temperature sensor, 4...20 mA, with display | 1034.82
SDVHC | Duct air quality and humidity sensor, 4...20 mA | 861.6
SDVHCD | Duct air quality and humidity sensor, 4...20 mA, with display | 1034.82
SDVM | Duct air quality, ModBus 485 | 1088.81
SDVTM | Duct air quality and temperature sensor, ModBus 485 | 1129.3
SDVTHM | Duct air quality, temperature and humidity sensor, ModBus 485 | 1172.04
SDCV | Duct CO2 sensor, 0...10 V DC | 884.09
SDCVD | Duct CO2 sensor, 0...10 V DC, with display | 1055.06
SDCTV | Duct CO2 and temperature sensor, 0...10 V DC | 969.58
SDCTVD | Duct CO2 and temperature sensor, 0...10 V DC, with display | 1140.55
SDCTHV | Duct CO2, temperature and humidity sensor, 0...10 V DC | 1012.32
SDCTHVD | Duct CO2, temperature and humidity sensor, 0...10 V DC, with display | 1185.54
SDCC | Duct CO2 sensor, 4...20 mA | 924.59
SDCCD | Duct CO2 sensor, 4...20 mA, with display | 1100.05
SDCTC | Duct CO2 and temperature sensor, 4...20 mA | 1012.32
SDCTCD | Duct CO2 and temperature sensor, 4...20 mA, with display | 1185.54
SDCHC | Duct CO2 and humidity sensor, 4...20 mA | 1012.32
SDCHCD | Duct CO2 and humidity sensor, 4...20 mA, with display | 1185.54
SDCM | Duct CO2 sensor, ModBus 485 | 1192.29
SDCTM | Duct CO2 and temperature sensor, ModBus 485 | 1275.52
SDCTHM | Duct CO2, temperature and humidity sensor, ModBus 485 | 1318.27
SDCVV | Duct CO2 and air quality sensor, 0...10 V DC | 1376.76
SDCVVD | Duct CO2 and air quality sensor, 0...10 V DC, with display | 1552.22
SDCVTV | Duct CO2, air quality and temperature sensor, 0...10 V DC | 1462.24
SDCVTVD | Duct CO2, air quality and temperature sensor, 0...10 V DC, with display | 1637.71
SDCVTHV | Duct CO2, air quality, humidity and temperature sensor, 0...10 V DC | 1507.23
SDCVC | Duct CO2 and air quality sensor, 4...20 mA | 1421.75
SDCVCD | Duct CO2 and air quality sensor, 4...20 mA, with display | 1592.72
SDCVM | Duct CO2 and air quality sensor, ModBus 485 | 1673.7
SDCVTM | Duct CO2, air quality and temperature sensor, ModBus 485 | 1756.94
SDCVTHM | Duct CO2, air quality, humidity and temperature sensor, ModBus 485 | 1797.43
TTDC | Duct temperature transmitter, 4...20 mA | 220.46
TTDCD | Duct temperature transmitter, 4...20 mA with display | 404.93
TTDV | Duct temperature transmitter, 0...10 V DC | 220.46
TTDVD | Duct temperature transmitter, 0...10 V DC with display | 404.93
TTDM | Duct temperature transmitter, ModBus 485 | 490.41
TTSC | Screw-in temperature transmitter, 4...20 mA | 231.71
TTSCD | Screw-in temperature transmitter, 4...20 mA with display | 436.42
TTSV | Screw-in temperature transmitter, 0...10 V DC | 231.71
TTSVD | Screw-in temperature transmitter, 0...10 V DC with display | 436.42
TTSM | Screw-in temperature transmitter, ModBus 485 | 517.41
TTHDC | Duct humidity and temperature transmitter, 4...20 mA | 384.68
TTHDCD(*) | Duct humidity and temperature transmitter, 4...20 mA with display | 600.64
TTHDV(*) | Duct humidity and temperature transmitter, 0...10 V DC | 384.68
TTHDVD | Duct humidity and temperature transmitter, 0...10 V DC with display | 600.64
TTHDM | Duct humidity and temperature transmitter, ModBus 485 | 690.63
TTHIC | Room humidity and temperature transmitter, 4...20 mA | 337.44
TTHICD | Room humidity and temperature transmitter, 4...20 mA with display | 501.66
TTHIV(*) | Room humidity and temperature transmitter, 0...10 V DC | 337.44
TTHIVD | Room humidity and temperature transmitter, 0...10 V DC with display | 501.66
TTHOC | Outdoor humidity and temperature transmitter, 4...20 mA | 373.43
TTHOCD | Outdoor humidity and temperature transmitter, 4...20 mA with display | 589.4
TTHOV(*) | Outdoor humidity and temperature transmitter, 0...10 V DC | 373.43
TTHOVD | Outdoor humidity and temperature transmitter, 0...10 V DC with display | 589.4
TTHOM | Outdoor humidity and temperature transmitter, ModBus 485 | 681.63
TTIC | Room temperature transmitter, 4...20 mA | 184.47
TTICD | Room temperature transmitter 4...20 mA with display | 359.94
TTIV | Room temperature transmitter, 0...10 V DC | 184.47
TTIVD | Room temperature transmitter, 0...10 V DC with display | 359.94
TTOC | Outdoor temperature transmitter, 4...20 mA | 220.46
TTOCD | Outdoor temperature transmitter, 4...20 mA with display | 382.43
TTOV | Outdoor temperature transmitter, 0...10 V DC | 220.46
TTOVD | Outdoor temperature transmitter, 0...10 V DC with display | 382.43
TTOM | Outdoor temperature transmitter, Modbus 485 | 485.91
(*) | To add for Pt100, Pt1000, NTC passive sensor | 20.25
| To add for Ni1000 passive sensor | 31.49
Датчики
SA1 | Room temperature sensor Pt100 | 44.99
SA2 | Room temperature sensor Pt1000 | 44.99
SA3 | Room temperature sensor Ni1000 TK6180 | 58.49
SA4 | Room temperature sensor Ni1000 TK5000 | 58.49
SA5 | Room temperature sensor NTC 20k | 44.99
SA6 | Room temperature sensor NTC 10k | 44.99
SA7 | Room temperature sensor KTY 81-110 | 44.99
SA8 | Room temperature sensor KTY 81-121 | 44.99
SO1 | Outdoor temperature sensor Pt100 | 44.99
SO2 | Outdoor temperature sensor Pt1000 | 44.99
SO3 | Outdoor temperature sensor Ni1000 TK6180 | 58.49
SO4 | Outdoor temperature sensor Ni1000 TK5000 | 58.49
SO5 | Outdoor temperature sensor NTC 20k | 44.99
SO6 | Outdoor temperature sensor NTC 10k | 44.99
SO7 | Outdoor temperature sensor KTY 81-110 | 44.99
SO8 | Outdoor temperature sensor KTY 81-121 | 44.99
SC1-1 | Cable temperature sensor Pt100, 1 m | 35.99
SC1-2 | Cable temperature sensor Pt100, 2 m | 38.24
SC1-5 | Cable temperature sensor Pt100, 5 m | 49.49
SC2-1 | Cable temperature sensor Pt1000, 1 m | 35.99
SC2-2 | Cable temperature sensor Pt1000, 2 m | 38.24
SC2-5 | Cable temperature sensor Pt1000, 5 m | 49.49
SC3-2 | Cable temperature sensor Ni1000 TK6180, 2 m | 58.49
SC3-5 | Cable temperature sensor Ni1000 TK5000, 5 m | 69.74
SC4-2 | Cable temperature sensor Ni1000 TK6180, 2 m | 58.49
SC4-5 | Cable temperature sensor Ni1000 TK5000, 5 m | 69.74
SC5-2 | Cable temperature sensor NTC 20k, 2 m | 38.24
SC5-5 | Cable temperature sensor NTC 20k, 5 m | 49.49
SC6-2 | Cable temperature sensor NTC 10k, 2 m | 35.99
SC6-5 | Cable temperature sensor NTC 10k, 5 m | 42.74
SC7-2 | Cable temperature sensor KTY 81-110, 2 m | 38.24
SC7-5 | Cable temperature sensor KTY 81-110, 5 m | 49.49
SC8-2 | Cable temperature sensor KTY 81-121, 2 m | 38.24
SC8-5 | Cable temperature sensor KTY 81-121, 5 m | 49.49
SCT1-2 | Cable temperature sensor for pipe Pt100, 2 m | 47.24
SCT2-2 | Cable temperature sensor for pipe Pt1000, 2 m | 47.24
SCT3-2 | Cable temperature sensor for pipe Ni1000 TK6180, 2 m | 62.99
SCT4-2 | Cable temperature sensor for pipe Ni1000 TK5000, 2 m | 62.99
SCT5-2 | Cable temperature sensor for pipe NTC 20k, 2 m | 51.74
SCT6-2 | Cable temperature sensor for pipe NTC 10k, 2 m | 49.49
SCK1 | Strap-on temperature sensor, Pt 100 | 80.99
SCK2 | Strap-on temperature sensor, Pt 1000 | 80.99
SCK3 | Strap-on temperature sensor, Ni1000 TK6180 | 96.73
SCK4 | Strap-on temperature sensor, Ni1000 TK5000 | 85.48
SCK5 | Strap-on temperature sensor, NTC 20k | 80.99
SCK6 | Strap-on temperature sensor, NTC 10k | 80.99
SCK7 | Strap-on temperature sensor, KTY 81-110 | 80.99
SCK8 | Strap-on temperature sensor, KTY 81-121 | 80.99
SD1-100 | Duct temperature sensor Pt100, 100 mm | 69.74
SD1-150 | Duct temperature sensor Pt100, 150 mm | 71.99
SD1-200 | Duct temperature sensor Pt100, 200 mm | 74.24
SD1-400 | Duct temperature sensor Pt100, 400 mm | 85.48
SD2-100 | Duct temperature sensor Pt1000, 100 mm | 69.74
SD2-150 | Duct temperature sensor Pt1000, 150 mm | 71.99
SD2-200 | Duct temperature sensor Pt1000, 200 mm | 74.24
SD2-400 | Duct temperature sensor Pt1000, 400 mm | 85.48
SD3-100 | Duct temperature sensor Ni1000, 100 mm | 76.49
SD3-150 | Duct temperature sensor Ni1000, 150 mm | 80.99
SD3-200 | Duct temperature sensor Ni1000, 200 mm | 85.48
SD3-400 | Duct temperature sensor Ni1000, 400 mm | 92.23
SD4-100 | Duct temperature sensor Ni1000 TK5000, 100 mm | 92.23
SD4-150 | Duct temperature sensor Ni1000 TK5000, 150 mm | 94.48
SD4-200 | Duct temperature sensor Ni1000 TK5000, 200 mm | 96.73
SD4-400 | Duct temperature sensor Ni1000 TK5000, 400 mm | 101.23
SD5-100 | Duct temperature sensor NTC 20k, 100 mm | 69.74
SD5-150 | Duct temperature sensor NTC 20k, 150 mm | 71.99
SD5-200 | Duct temperature sensor NTC 20k, 200 mm | 74.24
SD5-400 | Duct temperature sensor NTC 20k, 400 mm | 85.48
SD6-100 | Duct temperature sensor NTC 10k, 100 mm | 67.49
SD6-150 | Duct temperature sensor NTC 10k, 150 mm | 69.74
SD6-200 | Duct temperature sensor NTC 10k, 200 mm | 71.99
SD6-400 | Duct temperature sensor NTC 10k, 400 mm | 76.49
SI1-100 | Screw-in temperature sensor Pt100, 100 mm | 101.23
SI1-150 | Screw-in temperature sensor Pt100, 150 mm | 103.48
SI1-200 | Screw-in temperature sensor Pt100, 200 mm | 110.23
SI1-400 | Screw-in temperature sensor Pt100, 400 mm | 121.48
SI2-100 | Screw-in temperature sensor Pt1000, 100 mm | 101.23
SI2-150 | Screw-in temperature sensor Pt1000, 150 mm | 103.48
SI2-200 | Screw-in temperature sensor Pt1000, 200 mm | 110.23
SI2-400 | Screw-in temperature sensor Pt1000, 400 mm | 121.48
SI3-100 | Screw-in temperature sensor Ni1000, 100 mm | 107.98
SI3-150 | Screw-in temperature sensor Ni1000, 150 mm | 110.23
SI3-200 | Screw-in temperature sensor Ni1000, 200 mm | 116.98
SI3-400 | Screw-in temperature sensor Ni1000, 400 mm | 130.48
SI4-100 | Screw-in temperature sensor Ni1000 TK5000, 100 mm | 116.98
SI4-150 | Screw-in temperature sensor Ni1000 TK5000, 150 mm | 119.23
SI4-200 | Screw-in temperature sensor Ni1000 TK5000, 200 mm | 123.73
SI4-400 | Screw-in temperature sensor Ni1000 TK5000, 400 mm | 137.23
SI5-100 | Screw-in temperature sensor NTC 20k, 100 mm | 101.23
SI5-150 | Screw-in temperature sensor NTC 20k, 150 mm | 103.48
SI5-200 | Screw-in temperature sensor NTC 20k, 200 mm | 110.23
SI5-400 | Screw-in temperature sensor NTC 20k, 400 mm | 123.73
SI6-100 | Screw-in temperature sensor NTC 10k, 100 mm | 98.98
SI6-150 | Screw-in temperature sensor NTC 10k, 150 mm | 101.23
SI6-200 | Screw-in temperature sensor NTC 10k, 200 mm | 105.73
SI6-400 | Screw-in temperature sensor NTC 10k, 400 mm | 121.48
SM5 | Room temperature sensor with potentiometer | 164.22
SM5T | Room temperature sensor with potentiometer | 195.72
SM5TL | Room temperature sensor with potentiometer | 227.21
SM5TLS | Room temperature sensor with potentiometer | 258.7
STR1 | Radiation temperature sensor, Pt100 | 96.73
STR2 | Radiation temperature sensor, Pt1000 | 96.73
STR3 | Radiation temperature sensor, Ni1000 TK6180 | 103.48
STR4 | Radiation temperature sensor, Ni1000 TK5000 | 112.48
STR5 | Radiation temperature sensor, NTC 20k | 98.98
STR6 | Radiation temperature sensor, NTC 10k | 94.48
STR7 | Radiation temperature sensor, KTY 81-110 | 94.48
STR8 | Radiation temperature sensor, KTY 81-121 | 94.48
PZ50 | Pocket OT Ni length 50 mm | 33.74
PZ100 | Pocket OT Ni length 100 mm | 35.99
PZ150 | Pocket OT Ni length 150 mm | 40.49
PZ200 | Pocket OT Ni length 200 mm | 44.99
PZ250 | Pocket OT Ni length 250 mm | 49.49
PZ300 | Pocket OT Ni length 300 mm | 53.99
PZ350 | Pocket OT Ni length 350 mm | 58.49
PZ400 | Pocket OT Ni length 400 mm | 65.24
PZ50X | Pocket stainless steel length 50 mm | 47.24
PZ100X | Pocket stainless steel length 100 mm | 49.49
PZ150X | Pocket stainless steel length 150 mm | 53.99
PZ200X | Pocket stainless steel length 200 mm | 60.74
PZ250X | Pocket stainless steel length 250 mm | 65.24
PZ300X | Pocket stainless steel length 300 mm | 69.74
PZ350X | Pocket stainless steel length 350 mm | 74.24
PZ400X | Pocket stainless steel length 400 mm | 85.48
Приводы и клапаны
Приводы заслонок
S2A | Damper actuator 2 Nm, 24 V AC/DC, 2-3 point | 163.69
S2AS | Damper actuator 2 Nm, 24 V AC/DC, 2-3 point with aux. switch | 182.34
S2AM | Damper actuator 2 Nm, 24 V AC/DC, proportional | 209.27
S2AMS | Damper actuator 2 Nm, 24 V AC/DC, proportional with aux. switch | 219.63
S2B | Damper actuator 2 Nm, 230 V AC, 2-3 point | 176.12
S2BS | Damper actuator 2 Nm, 230 V AC, 2-3 point with aux. switch | 213.42
S2BM | Damper actuator 2 Nm, 230 V AC, proportional | 234.14
S2BMS | Damper actuator 2 Nm, 230 V AC, proportional with aux. switch | 250.71
S4A | Damper actuator 4 Nm, 24 V AC/DC, 2-3 point | 196.84
S4AS | Damper actuator 4 Nm, 24 V AC/DC, 2-3 point with 2 aux. switches | 236.21
S4AM | Damper actuator 4 Nm, 24 V AC/DC, proportional | 246.57
S4AMS | Damper actuator 4 Nm, 24 V AC/DC, proportional with 2 aux. switches | 273.5
S4B | Damper actuator 4 Nm, 230 V AC, 2-3 point | 232.06
S4BS | Damper actuator 4 Nm, 230 V AC, 2-3 point with 2 aux. switches | 263.14
S4BM | Damper actuator 4 Nm, 230 V AC, proportional | 271.43
S4BMS | Damper actuator 4 Nm, 230 V AC, proportional with 2 aux. switches | 312.87
S8A | Damper actuator 8 Nm, 24 V AC/DC, 2-3 point | 246.57
S8AF | Damper actuator 8 Nm, 24 V AC/DC, 2-3 point, fast running | 300.44
S8AS | Damper actuator 8 Nm, 24 V AC/DC, 2-3 point with 2 aux. switches | 279.72
S8AFS | Damper actuator 8 Nm, 24 V AC/DC, 2-3 point with 2 aux. switches, fast running | 331.52
S8AM | Damper actuator 8 Nm, 24 V AC/DC, proportional | 343.95
S8AMF | Damper actuator 8 Nm, 24 V AC/DC, proportional, fast running | 395.75
S8AMS | Damper actuator 8 Nm, 24 V AC/DC, proportional with 2 aux. switches | 370.89
S8AMFS | Damper actuator 8 Nm, 24 V AC/DC, proportional with 2 aux. switches, fast running | 420.62
S8B | Damper actuator 8 Nm, 230 V AC, 2-3 point | 271.43
S8BF | Damper actuator 8 Nm, 230 V AC, 2-3 point, fast running | 323.23
S8BS | Damper actuator 8 Nm, 230 V AC, 2-3 point with 2 aux. switches | 312.87
S8BFS | Damper actuator 8 Nm, 230 V AC, 2-3 point with 2 aux. switches, fast running | 364.67
S8BM | Damper actuator 8 Nm, 230 V AC, proportional | 383.32
S8BMF | Damper actuator 8 Nm, 230 V AC, proportional, fast running | 435.12
S8BMS | Damper actuator 8 Nm, 230 V AC, proportional with 2 aux. switches | 416.47
S8BMFS | Damper actuator 8 Nm, 230 V AC, proportional with 2 aux. switches, fast running | 468.27
S16A | Damper actuator 16 Nm, 24 V AC/DC, 2-3 point | 279.72
S16AF | Damper actuator 16 Nm, 24 V AC/DC, 2-3 point, fast running | 437.19
S16AS | Damper actuator 16 Nm, 24 V AC/DC, 2-3 point with 2 aux. switches | 343.95
S16AFS | Damper actuator 16 Nm, 24 V AC/DC, 2-3 point with 2 aux. switches, fast running | 451.7
S16AM | Damper actuator 16 Nm, 24 V AC/DC, proportional | 393.68
S16AMF | Damper actuator 16 Nm, 24 V AC/DC, proportional, fast running | 501.42
S16AMS | Damper actuator 16 Nm, 24 V AC/DC, proportional with 2 aux. switches | 410.26
S16AMFS | Damper actuator 16 Nm, 24 V AC/DC, proportional with 2 aux. switches, fast running | 518
S16B | Damper actuator 16 Nm, 230 V AC, 2-3 point | 306.66
S16BF | Damper actuator 16 Nm, 230 V AC, 2-3 point, fast running | 455.84
S16BS | Damper actuator 16 Nm, 230 V AC, 2-3 point with 2 aux. switches | 381.25
S16BFS | Damper actuator 16 Nm, 230 V AC, 2-3 point with 2 aux. switches, fast running | 486.92
S16BM | Damper actuator 16 Nm, 230 V AC, proportional | 416.47
S16BMF | Damper actuator 16 Nm, 230 V AC, proportional, fast running | 524.22
S16BMS | Damper actuator 16 Nm, 230 V AC, proportional with 2 aux. switches | 447.55
S16BMFS | Damper actuator 16 Nm, 230 V AC, proportional with 2 aux. switches, fast running | 553.22
S24A | Damper actuator 24 Nm, 24 V AC/DC, 2-3 point | 393.68
S24AS | Damper actuator 24 Nm, 24 V AC/DC, 2-3 point with 2 aux. switches | 435.12
S24AM | Damper actuator 24 Nm, 24 V AC/DC, proportional | 478.63
S24AMS | Damper actuator 24 Nm, 24 V AC/DC, proportional with 2 aux. switches | 528.36
S24B | Damper actuator 24 Nm, 230 V AC, 2-3 point | 416.47
S24BS | Damper actuator 24 Nm, 230 V AC, 2-3 point with 2 aux. switches | 453.77
S24BM | Damper actuator 24 Nm, 230 V AC, proportional | 503.5
S24BMS | Damper actuator 24 Nm, 230 V AC, proportional with 2 aux. switches | 538.72
S32A | Damper actuator 32 Nm, 24 V AC/DC, 2-3 point | 544.94
S32AS | Damper actuator 32 Nm, 24 V AC/DC, 2-3 point with 2 aux. switches | 573.94
S32AM | Damper actuator 32 Nm, 24 V AC/DC, proportional | 584.3
S32AMS | Damper actuator 32 Nm, 24 V AC/DC, proportional with 2 aux. switches | 592.59
S32B | Damper actuator 32 Nm, 230 V AC, 2-3 point | 590.52
S32BS | Damper actuator 32 Nm, 230 V AC, 2-3 point with 2 aux. switches | 598.81
S32BM | Damper actuator 32 Nm, 230 V AC, proportional | 652.68
S32BMS | Damper actuator 32 Nm, 230 V AC, proportional with 2 aux. switches | 687.9
SR2A | Spring-return damper actuator 2,5 Nm, 24 V AC/DC, on-off | 317.02
SR2AS | Spring-return damper actuator 2,5 Nm, 24 V AC/DC with aux. switch | 341.88
SR2AM | Spring-return damper actuator 2,5 Nm, 24 V AC/DC, proportional | 430.98
SR2AMS | Spring-return damper actuator 2,5 Nm, 24 V AC/DC, prop., with aux. switch | 476.56
SR2B | Spring-return damper actuator 2,5 Nm, 230 V AC, on-off | 352.24
SR2BS | Spring-return damper actuator 2,5 Nm, 230 V AC with aux. switch | 379.18
SR5A | Spring-return damper actuator 5 Nm, 24 V AC/DC | 358.46
SR5AS | Spring-return damper actuator 5 Nm, 24 V AC/DC with aux. switch | 404.04
SR5AM | Spring-return damper actuator 5 Nm, 24 V AC/DC, proportional | 441.34
SR5AMS | Spring-return damper act. 5 Nm, 24 V AC/DC, prop. with aux. switch | 491.06
SR5B | Spring-return damper actuator 5 Nm, 230 V AC | 375.03
SR5BS | Spring-return damper actuator 5 Nm, 230 V AC with aux. switch | 439.26
SR10A | Spring-return damper actuator 10 Nm, 24 V AC/DC | 420.62
SR10AS | Spring-return damper actuator 10 Nm, 24 V AC/DC with 2 aux. switches | 468.27
SR10AM | Spring-return damper actuator 10 Nm, 24 V AC/DC, proportional | 578.09
SR10AMS | Spring-return damper act. 10 Nm, 24 V AC/DC, prop. with 2 aux. switches | 619.53
SR10B | Spring-return damper actuator 10 Nm, 230 V AC | 439.26
SR10BS | Spring-return damper actuator 10 Nm, 230 V AC with 2 aux. switches | 503.5
SR15A | Spring-return damper actuator 15 Nm, 24 V AC/DC | 617.46
SR15AS | Spring-return damper actuator 15 Nm, 24 V AC/DC with 2 aux. switches | 667.18
SR15AM | Spring-return damper actuator 15 Nm, 24 V AC/DC, proportional | 683.76
SR15AMS | Spring-return damper act. 15 Nm, 24 V AC/DC, prop. with 2 aux. switches | 716.91
SR15B | Spring-return damper actuator 15 Nm, 230 V AC | 654.75
SR15BS | Spring-return damper actuator 15 Nm, 230 V AC with 2 aux. switches | 714.84
ST3AT | Fire and smoke, spring return damper actuator 3 Nm, 24 V AC/DC | 368.82
ST3BT | Fire and smoke, spring return damper actuator 3 Nm, 100...240 V AC | 368.82
ST5AT | Fire and smoke, spring return damper actuator 5 Nm, 24 V AC/DC | 406.11
ST5BT | Fire and smoke, spring return damper actuator 5 Nm, 100...240 V AC | 406.11
ST10AT | Fire and smoke, spring return damper actuator 10 Nm, 24 V AC/DC | 486.92
ST10BT | Fire and smoke, spring return damper actuator 10 Nm, 100...240 V AC | 486.92
ST15AT | Fire and smoke, spring return damper actuator 15 Nm, 24 V AC/DC | 607.1
ST15BT | Fire and smoke, spring return damper actuator 15 Nm, 100...240 V AC | 607.1
ST20AT | Fire and smoke, spring return damper actuator 20 Nm, 24 V AC/DC | 735.56
ST20BT | Fire and smoke, spring return damper actuator 20 Nm, 100...240 V AC | 735.56
SF10A | Smoke control damper actuator, 10 Nm, 24 V AC/DC | 354.31
SF10B | Smoke control damper actuator, 10 Nm, 100...240 V AC | 354.31
SF15A | Smoke control damper actuator, 15 Nm, 24 V AC/DC | 391.61
SF15B | Smoke control damper actuator, 15 Nm, 100...240 V AC | 391.61
SF30A | Smoke control damper actuator, 30 Nm, 24 V AC/DC | 501.42
SF30B | Smoke control damper actuator, 30 Nm, 100...240 V AC | 501.42
SS8A | Damper actuator with electronic fail-safe function, 8 Nm, 2-point | 424.76
SS8AS | Damper act. with electronic fail-safe function, 8 Nm, 2-point, 2 aux. sw. | 652.68
SS8AM | Damper actuator with electronic fail-safe function, 8 Nm, proportional | 472.42
SS8AMS | Damper act. with electr. fail-safe function, 8 Nm, proportional, 2 aux. sw. | 698.26
SS16A | Damper actuator with electronic fail-safe function, 16 Nm, 2-point | 522.14
SS16AS | Damper act. with electronic fail-safe function, 16 Nm, 2-point, 2 aux. sw. | 660.97
SS16AM | Damper actuator with electronic fail-safe function, 16 Nm, proportional | 567.73
SS16AMS | Damper act. with electr. fail-safe function, 16 Nm, proportional, 2 aux. sw. | 706.55
SS24A | Damper actuator with electronic fail-safe function, 24 Nm, 2-point | 555.3
SS24AS | Damper act. with electr. fail-safe function, 24 Nm, 2-point, 2 aux. sw. | 756.28
SS24AM | Damper actuator with electronic fail-safe function, 24 Nm, proportional | 602.95
SS24AMS | Damper act. with electr. fail-safe function, 24 Nm, proportional, 2 aux. sw. | 803.94
SX10A | Damper actuator, 24 V AC/DC, 10 Nm, 3 point, ATEX version | 4908.57
SX10B | Damper actuator, 230 V AC, 10 Nm, 3 point, ATEX version | 4908.57
SX20A | Damper actuator, 24 V AC/DC, 20 Nm, 3 point, ATEX version | 5335.4
SX20B | Damper actuator, 230 V AC, 20 Nm, 3 point, ATEX version | 5335.4
SX30A | Damper actuator, 24 V AC/DC, 30 Nm, 3 point, ATEX version | 5656.56
SX30B | Damper actuator, 230 V AC, 30 Nm, 3 point, ATEX version | 5656.56
SRX5A | Spring-return damper act. 5 Nm, 24 V AC/DC, 2 point, ATEX version | 5869.98
SRX5B | Spring-return damper act. 5 Nm, 230 V AC, 2 point, ATEX version | 5869.98
SRX10A | Spring-return damper act. 10 Nm, 24 V AC/DC, 2 point, ATEX version | 6189.06
SRX10B | Spring-return damper act. 10 Nm, 230 V AC, 2 point, ATEX version | 6189.06
SRX15A | Spring-return damper act. 15 Nm, 24 V AC/DC, 2 point, ATEX version | 6615.9
SRX15B | Spring-return damper act. 15 Nm, 230 V AC, 2 point, ATEX version | 6615.9
Моторизованные клапаны
VB215 | Brass valve for fan coils G 1/2, 2 ways, KVs 1.6 | 47.24
VB220 | Brass valve for fan coils G 3/4, 2 ways, KVs 2.5 | 53.99
VB225 | Brass valve for fan coils G 1, 2 ways, KVs 4.5 | 74.24
VB315 | Brass valve for fan coils G 1/2, 3 ways, KVs 1.6 | 53.99
VB320 | Brass valve for fan coils G 3/4, 3 ways, KVs 2.5 | 60.74
VB325 | Brass valve for fan coils G 1, 3 ways, KVs 4.5 | 80.99
VB415 | Brass valve for fan coils G 1/2, 3 ways (4 ports), KVs 1.6 | 67.49
VB420 | Brass valve for fan coils G 3/4, 3 ways (4 ports), KVs 2.5 | 74.24
VB425 | Brass valve for fan coils G 1, 3 ways (4 ports), KVs 4.5 | 103.48
SVB230 | Electrothermal actuator, 230 V AC, 110 N | 62.99
SVB230C | Electrothermal actuator, 230 V AC, 110 N with aux. switch | 71.99
SVB24M | Electrothermal actuator, 24 V AC, 170 N, proportional | 200.21
AVC230 | Actuator for fan coils valves, 230 V AC, 120 N, on-off | 337.44
AVC24 | Actuator for fan coils valves, 24 V AC/DC, 120 N, on-off | 337.44
AVC24M | Actuator for fan coils valves, 24 V AC/DC, 120 N, proportional | 341.94
VZ215 | Zone valve in brass G 1/2, 2 ways, KVs 2.5 | 51.74
VZ220 | Zone valve in brass G 3/4, 2 ways, KVs 3.5 | 62.99
VZ225 | Zone valve in brass G 1, 2 ways, KVs 4.0 | 74.24
VZ315 | Zone valve in brass G 1/2, 3 ways, KVs 2.5 | 62.99
VZ320 | Zone valve in brass G 3/4, 3 ways, KVs 3.5 | 67.49
VZ325 | Zone valve in brass G 1, 3 ways, KVs 4.5 | 94.48
SVZ230 | Actuator for zone valves, 230 V AC | 87.73
VS215 | Ball valve in brass DN15 2 way, KVs 4.0 | 110.23
VS220 | Ball valve in brass DN20 2 way, KVs 6.3 | 112.48
VS225 | Ball valve in brass DN25 2 way, KVs 10 | 132.73
VS232 | Ball valve in brass DN32 2 way, KVs 16 | 200.21
VS240 | Ball valve in brass DN40 2 way, KVs 25 | 377.93
VS250 | Ball valve in brass DN50 2 way, KVs 40 | 526.41
VS250B | Ball valve in brass DN50 2 way, KVs 63 | 553.4
VS265 | Ball valve in brass DN65 2 way, KVs 63 | 785.11
VS280 | Ball valve in brass DN80 2 way, KVs 100 | 1007.82
VS315 | Ball valve in brass DN15 3 way, KVs 4.0 | 125.98
VS320 | Ball valve in brass DN20 3 way, KVs 6.3 | 128.23
VS325 | Ball valve in brass DN25 3 way, KVs 10 | 155.22
VS332 | Ball valve in brass DN32 3 way, KVs 16 | 229.46
VS340 | Ball valve in brass DN40 3 way, KVs 25 | 404.93
VS350 | Ball valve in brass DN50 3 way, KVs 40 | 634.39
VS350B | Ball valve in brass DN50 3 way, KVs 63 | 659.13
VSA | Actuator adapter for ball valves | 58.49
VSAR5 | Actuator adapter for ball valves for SR5 actuators | 62.99
VSAR10 | Actuator adapter for ball valves for SR10 actuators | 103.48
S5AV | 5 Nm actuator for ball valves VS, 24 V AC/DC, 2-3 point | 290.2
S5AMV | 5 Nm actuator for ball valves VS, 24 V AC/DC, proportional | 382.43
S5BV | 5 Nm actuator for ball valves VS, 230 V AC, 2-3 point | 314.94
S10AV | 10 Nm actuator for ball valves VS, 24 V AC/DC, 2-3 point | 440.92
S10AMV | 10 Nm actuator for ball valves VS, 24 V AC/DC, proportional | 488.16
S10BV | 10 Nm actuator for ball valves VS, 230 V AC, 2-3 point | 463.42
VG215 | Globe valve in brass DN15 2 way, KVs 4.0 | 247.46
VG220 | Globe valve in brass DN20 2 way, KVs 6.3 | 247.46
VG225 | Globe valve in brass DN25 2 way, KVs 8 | 305.95
VG232 | Globe valve in brass DN32 2 way, KVs 16 | 332.94
VG240 | Globe valve in brass DN40 2 way, KVs 25 | 411.68
VG250 | Globe valve in brass DN50 2 way, KVs 40 | 470.17
VG265 | Globe valve in brass DN65 2 way, KVs 63 | 852.6
VG280 | Globe valve in brass DN80 2 way, KVs 78 | 1192.29
VG315 | Globe valve in brass DN15 3 way, KVs 4.0 | 272.2
VG320 | Globe valve in brass DN20 3 way, KVs 6.3 | 272.2
VG325 | Globe valve in brass DN25 3 way, KVs 8 | 348.69
VG332 | Globe valve in brass DN32 3 way, KVs 16 | 411.68
VG340 | Globe valve in brass DN40 3 way, KVs 25 | 447.67
VG350 | Globe valve in brass DN50 3 way, KVs 40 | 618.64
VG365 | Globe valve in brass DN65 3 way, KVs 63 | 969.58
VG380 | Globe valve in brass DN80 3 way, KVs 78 | 1399.25
AVG6 | Actuator for VG valves - 600 N on-off | 483.66
AVG6M | Actuator for VG valves - 600 N Proportional | 562.4
AVG6B | Actuator for VG valves - 600 N on-off, 230 V AC | 506.16
AVG10 | Actuator for VG valves - 1000 N on-off | 652.38
AVG10M | Actuator for VG valves - 1000 N Proportional | 989.82
AVG10B | Actuator for VG valves - 1000 N on-off, 230 V AC | 697.38
VF250 | Globe valve in cast iron DN50 2 way, KVs 50 | 1023.57
VF265 | Globe valve in cast iron DN65 2 way, KVs 75 | 1349.76
VF280 | Globe valve in cast iron DN80 2 way, KVs 100 | 1777.18
VF2100 | Globe valve in cast iron DN100 2 way, KVs 125 | 2542.05
VF2125 | Globe valve in cast iron DN125 2 way, KVs 200 | 3464.38
VF2150 | Globe valve in cast iron DN150 2 way, KVs 285 | 4341.73
VF2200 | Globe valve in cast iron DN200 2 way, KVs 400 | 8233.54
VF350 | Globe valve in cast iron DN50 3 way, KVs 50 | 1034.82
VF365 | Globe valve in cast iron DN65 3 way, KVs 75 | 1372.26
VF380 | Globe valve in cast iron DN80 3 way, KVs 100 | 2035.89
VF3100 | Globe valve in cast iron DN100 3 way, KVs 125 | 2789.5
VF3125 | Globe valve in cast iron DN125 3 way, KVs 200 | 3824.32
VF3150 | Globe valve in cast iron DN150 3 way, KVs 285 | 5106.59
VF3200 | Globe valve in cast iron DN200 3 way, KVs 400 | 9110.88
AVF12 | Actuator for VF valves - 1200 N on-off | 1079.81
AVF12M | Actuator for VF valves - 1200 N Proportional | 1327.26
AVF18 | Actuator for VF valves - 1800 N on-off | 1574.72
AVF18M | Actuator for VF valves - 1800 N Proportional | 1822.18
AVF30 | Actuator for VF valves - 3000 N on-off | 1822.18
AVF30M | Actuator for VF valves - 3000 N Proportional | 2024.64
AVF70 | Actuator for VF valves - 7000 N on-off | 2474.56
AVF70M | Actuator for VF valves - 7000 N Proportional | 2812
VM40 | Butterfly valve DN40, KVs 50, PN16, cast iron | 483.66
VM50 | Butterfly valve DN50, KVs 85, PN16 cast iron | 483.66
VM65 | Butterfly valve DN65, KVs 215, PN16 cast iron | 537.65
VM80 | Butterfly valve DN80, KVs 420, PN16 cast iron | 569.15
VM100 | Butterfly valve DN100, KVs 800, PN16 cast iron | 650.13
VM125 | Butterfly valve DN125, KVs 1010, PN16 cast iron | 794.11
VM150 | Butterfly valve DN150, KVs 2100, PN16 cast iron | 899.84
Контроллеры
Серия контроллеров NK 5500
NKP5500010400 | Pannel controller, size 32x74x80 with LED display | 927.36
NKP5500050400 | Pannel controller, size 32x74x80 with LED display, RS485 ModBus | 1117.39
NKD5500010400 | 4 DIN controller with LED display | 980.57
NKD5500050400 | 4 DIN controller with LED display, RS485 ModBus | 1160.46
NKC5500010400 | 4 DIN controller w/o display | 874.15
NKC5500050400 | 4 DIN controller w/o display, RS485 ModBus | 1061.65
NKE5500050400 | Expansion for NK 5500 serie | 565.03
NKD5545010400 | 4 DIN controller with LED display | 1069.25
NKD5545050400 | 4 DIN controller with LED display, RS485 ModBus | 1251.68
NKC5545010400 | 4 DIN controller w/o display | 965.36
NKC5545050400 | 4 DIN controller w/o display, RS485 ModBus | 1150.33
NKE5545050400 | Expansion for NK 5500 serie | 620.77
NKP5510000000 | Panel LED terminal size 74x32x30 for NK 55 serie | 281.25
NKW5522000011 | Wall LCD terminal for NK 55 serie | 339.52
NKW5522L00011 | Wall terminal for NK 55 serie with LCD back lit display | 453.54
NKP5522000000 | Panel LCD terminal for NK 55 serie | 486.48
NKP5522L00000 | Panel LCD terminal for NK 55 serie with LCD back lit display | 559.96
Серия контроллеров NK 7500
NKD7500010B00 | 8 DIN controller with graphic back lit display | 2369.07
NKD7500060B00 | 8 DIN controller with graphic back lit display and USB connector | 2475.48
NKC7500010B00 | 8 DIN controller w/o display | 2135.96
NKC7500060B00 | 8 DIN controller w/o display with USB connector | 2227.18
NKE7542000B00 | 4 DIN expansion for NK 7500 controller serie | 744.93
NKE7500000B00 | 8 DIN expansion for NK 7500 controller serie | 1657.08
NKK7510000B00 | Panel or wall terminal with graphic back lit display (see accessories) | 1137.66
Серия контроллеров NK 12600
NKD1260060500 | 8 DIN controller with graphic back lit display | 2906.22
NKC1260060500 | 8 DIN controller w/o display | 2609.77
Серия контроллеров NK 8400
NKD8400060500 | 8 DIN controller with graphic back lit display | 2427.34
NKC8400060500 | 8 DIN controller w/o display | 2151.16
Подключаемые модули
NKS10R2000000 | Interface with ModBus ASCII protocol for NKD/NKC | 448.48
NKS00R4000000 | Interface with ModBus RTU protocol for NKD/NKC | 306.58
NKS00CA000000 | Interface with CANopen protocol for NKD/NKC | 314.19
NKS00ET000000 | Interface with ModBus TCP - BACnet IP - HTTP protocol for NKD/NKC | 458.61
NKS00PB000000 | Interface with ProfiBus DB Slave-V0 protocol for NKD/NKC | 2341.19
Панели оператора
MTS102CU-00000 | Terminale grafico touch screen da 10,2” | 6486.43
MTS700CU-0000 | Terminale grafico touch screen da 7” | 3749.96
MTS430C-00000 | Terminale grafico touch screen da 4,3” | 2346.26
Панельные контроллеры
NKP3300010B00 | Panel controller with gateway functions, LCD back lit display and integrated NTC sensor | 1897.79
NKP3500010B00 | Panel controller with gateway functions, LCD back lit display, NTC and RH integrated sensor | 2282.92
Аксессуары для контроллеров
SAR0RA00X701 | USB/485 MINI KIT converter | 1520.26
NKI5510030020 | Interface module DMI100-3 Manufacturer | 1576
NKK100T000000 | Programming key for uploading/downloading parameters, applications | 190.03
NKC55IO00000 | Wiring for I/O connection - safety extra low voltage SELV - cable 1 mt | 40.54
NKC55OA00000 | Wiring RS485 | 20.27
NKC55BUS0000 | Wiring AO3-4-5 - cable 1 mt | 20.27
NKC55WMRC000 | White backplate kit (4 pcs) for wall mounting | 116.55
NKC55WMRC001 | Black backplate kit (4 pcs) for wall mounting | 116.55
NKW5522P10000 | %RH humidity module | 339.52
NKC55TF411205 | 230V~/12V 6VA transformer (protected) | 38.01
NKC55TF411210 | 230V~/12V 11VA transformer (protected) | 65.88